## Settings
PARAMETER | VALUE
Method | 5K
MIDA | Default
RT Window | 1.7
Rt Difference Filter | 1.7
Total Abundance Filter | 30000
M Difference Criteria | 0.5 | 0.35 | 0.25 | 0.2
SILAC Masses | All
RMS Error Filter | 0.015
DB Score Filter | 1
Base Peak Abundance Filter | 30000
%Theo EM0 Upper Limit | 1.4
%Theo EM0 Lower Limit | -0.4
Peptides Std Dev Filter | 2
Isotopomer Std Dev Filter | 0.2
Use All Isotopomers for f | No
Combine peptides | Yes
Minimum MIDA | Default
Upper limit Sample:SILAC ratio | 20
Lower limit Sample:SILAC ratio | 0.02
SILAC Std Dev Filter | 2
Fractionated | Yes
Saturation Limit | 10000000
Offset Slope | 1
Offset Intercept | 0

## Options (hidden)
5K | Default | Yes | Default
10K | D20 0-7 | No | Normal
15K | Low |  | Moderate
30K | Lumican |  | High
In Vitro
D3 Leucine
CKMM
Acetyl
15N